## Gen-Sum
CHATTARPUR TEMPLE
RENOVATION OF THE BASEMENT HALL AT THE MAA MAHESASUR MARDANI MANDIR.
Civil, electrical, and plumbing work; elevators and associated civil work; installation of PVC wall panelling and artificial grass;
GENERAL SUMMARY
S.NO. | DESCRIPTION | AMOUNT
A | CIVIL WORKS
1 | RENOVATION OF THE BASEMENT HALL | 0
| TOTAL (A) | 0
| TOTAL AMOUNT | 0
| ADD : GST 18% | 0
| TOTAL AMOUNT (INCLUSIVE GST) | 0

## Civil Est.-Sum
CHATTARPUR TEMPLE
SUMMARY
RENOVATION OF THE BASEMENT HALL AT THE MAA MAHESASUR MARDANI MANDIR.
S.NO. | DESCRIPTION
| CIVIL WORKS | TEMPLE | Rate Per Sqm | Rate Per Sqft
| CONSTRUCTED AREA | 557
A | FLOORING WORK (INCLUDING THE COST OF THE PVC WALL PANELING AND ARTIFICIAL GRASS WORK) | 0 | 0 | 0
B | CIVIL WORK (INCLUDING THE COST OF THE LIFT CIVIL WORK) | 0 | 0 | 0
C | PLUMBING WORKS | 0 | 0 | 0
C | ELECTRICAL WORKS INCLUDING THE COST OF THE LIFT | 0 | 0 | 0
| TOTAL AMOUNT | 0 | 0 | 0

## Civil work.
CHATTARPUR SCHOOL RAMP
ESTIMATE FOR CIVIL WORKS
S.NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| CIVIL WORKS |  | BLOCK |  | BLOCK
| CONSTRUCTED AREA | SQM | 51
A | CONCRETE AND REINFORCEMENT WORKS
1 | Providing & laying PCC 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 20mm nominal size) for foundation and under floor including the cost of centring and shuttering. | Cum |  |  | 0
2 | Providing & laying PCC 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 20mm nominal size) for foundation and under floor including the cost of centring and shuttering. | Cum |  |  | 0
3 | Providing & laying RCC M-25 with minimum cement contents 340 Kg per cum excluding cost of centering, shuttering and reinforcement but including mechanically mixing, vibrating, curing etc. complete at all floors, heights and levels . |  |  |  | 0
a) | Foundations, rafts, pedestals, grade slab, plinth beams etc. | Cum | 12 |  | 0
b) | Beams of all shapes, bracket, lintels, suspended floors, roof slabs having slope upto 15°, landings, shelves, balconies, chajjas, bands, window sills, staircases (stepped and spiral type staircases etc.) | Cum | 7 |  | 0 |  | 64.9
c) | Columns, pillars, posts and struts, piers, walls (any thickness) etc. | Cum | 5 |  | 0
d) | Staircase with waist slab and steps | Cum |  |  | 0
e) | Machine foundation | Cum |  |  | 0
f) | Beams in semi circular shape | Cum |  |  | 0
4 | Extra for Concrete Grade M 30 with minimum cement contents 360 Kg per cum | Cum |  |  | 0
5 | Extra for Concrete Grade M 40 with minimum cement contents 380 Kg per cum | Cum |  |  | 0
6 | Providing & fixing formwork/ centering & shuttering work for all RCC elements, madeup of ordinary timber planks,plywood sheets with battens, steel plates etc.Including supports of wooden props, ms pipes or elements and Scaffolding system etc. Including all accessories,nails ,ties,binders etc. complete. to gets even finish of allelements up to required height complete. as directed and as per drawings & details etc. |  |  |  | 0
a) | Foundations, footings, bases of columns, pedestals, plinth beam and raft etc. | Sqm | 2 |  | 0
b) | Slabs, suspended floor, roofs, flat slab landings, shelves and chajja, etc. | Sqm | 8 |  | 0
c) | Lintels, beams, bracket, girders, bressumers and cantilevers. | Sqm | 49 |  | 0
d) | Columns, pillars, posts and struts, piers, walls (any thickness) etc. | Sqm | 259 |  | 0
e) | Staircase with waist slab and steps | Sqm |  |  | 0
f) | Machine foundation | Sqm |  |  | 0
g) | Beams in semi circular shape | Sqm |  |  | 0
7 | Providing & laying reinforcements high yield strength of various diameters of following grades conforming to IS code 1786 (Latest Revision) for reinforced concrete work including cutting, bending, binding with annealed 18G MS binding wire, placing in position according to drawings. (Rate shall include cost of binding wire, cover blocks, etc.) |  |  |  | 0
a) | Grade Fe 500 | MT | 1 |  | 0
8 | Providing and laying damp proof course 40mm thick with cement concrete M-25 including shuttering, providing and mixing waterproofing material in cement concrete work @ 1 kg. per bag of cement. | Sqm |  |  | 0
9 | Providing and laying 20mm thick vertical damp proof course comprising cement plaster in cement mortar 1:5 mixed with waterporrf compound of approved make as per manufacturer specification finished with floating coat of neat cement (10 Kg. cement / Sqm) complete. | Sqm |  |  | 0
10 | Supplying & laying cinder cocrete 1 : 15 ( 1 cement : 15 cinder 12.5 mm nominal size ) in sunken portion including minimum compaction complete. | Cum |  |  | 0
11 | Providing and laying Plum concrete of 1:4:8 concrete comprising of following:- | Cum |  |  | 0
a) | 1st layer of 100mm thk 1:4:8 to be laid. |  |  |  | 0
b) | 2nd layer comprising of 200-250mm Boulder to be laid over 1st layer covering 50% of the area by slaggend way the balance area to be filled with 40mm down aggregate in such a way that at least 25% area to be left as voids where shall be filled with PCC 1:4:8 (20mm down aggregate) concrete to be much vibrated so that the voids shall be filled in proper manner. |  |  |  | 0
c) | Layer 1 and Layer 2 to be repeated in the same sequence till the area is filled up to the required level. |  |  |  | 0
0 | TOTAL TO SUMMARY | 0 |  |  | 0
B | BRICK/BLOCK WORKS | 0
1 | Providng and laying brick work in cement mortar 1:5 (1 cement : 5 coarse sand) using common burnt clay FPS bricks of class designation 7.5 in foundation upto plinth level including raking out joints & curing etc. | Cum |  |  | 0
2 | Providng and laying brick work in cement mortar 1:6 (1 cement : 6 coarse sand) using common burnt clay FPS bricks of class designation 7.5 in super structure all complete upto all height and level. | Cum | 30 |  | 0
3 | Providing and laying half brick work in cement mortar 1:4 of common burnt clay FPS bricks of class designation 7.5 in superstructure including using 2 Nos - 6mm dia hoop iron after every third coarse. | Sqm | 34 |  | 0
4 | Providing and laying brick work in cement mortar 1:4 using common burnt clay FPS bricks of class designation 7.5 in staircase steps including cutting, chamfering of bricks etc. complete. | Cum |  |  | 0
0 | TOTAL TO SUMMARY | 0 |  |  | 0
C | FINISHING WORKS
1 | Providing and applying 12-15mm thick internal wall plaster in CM 1:4 (1 cement : 4 sand using 25% coarse sand and 75% fine sand) at all heights and levels including making coving/chamfering in plaster as per drawing, scaffolding, curing etc. complete. | Sqm | 92 |  | 0
2 | Providing & applying 10mm thick plaster in CM 1:3 (1 cement : 3 coarse sand using 25% coarse sand and 75% fine sand) on ceiling including hacking the surface, scaffolding, curing & making coving/chamfering etc. at all levels and heights etc. all complete. | Sqm | 350 |  | 0
3 | Providing and laying 18-20 mm average cement plaster mix 1:6 (1 cement : 6 fine sand) in two layers on outside brick wall surface including racking joints, curing, scoffolding etc complete as per drawing,specifications and as directed by Engineer-in-charge. | Sqm | 92 |  | 0
4 | Providing and fixing GI chicken mesh at corners, column heads, junction of brick and RCC works, as directed including fixing with nails etc. prior to plastering (24G, 12mm size, galvanized chicken mesh). | Sqm |  |  | 0
5 | Providing & applying two or more coats of plastic emulsion paint of approved brand and manufacture on new work over a coat of approved primer to give an even shade including preparing the surface with putty of approved quality & make complete. | Sqm | 116 |  | 0
6 | Providing & applying texture paint of approved make to external surfaces of walls as per manufacturer's specifications and approved by the Architects including preparing surface with putty of approved quality, scaffolding etc. complete. |  |  |  | 0
a) | Superfine | Sqm | 110 |  | 0
b) | Spray coat | Sqm |  |  | 0
c) | Perma stone | Sqm |  |  | 0
0 | TOTAL TO SUMMARY | 0 |  |  | 0
D | MISCELLANEOUS WORKS
1 | Providing and fixing powder coated Aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular and other sections of approved make conforming to IS : 733 and IS : 1285, having 3 mm wall thickness of required shade, fixed with rawl/mungo plugs and screws or with fixing clips, or with expansion hold fasteners including necessary filling up of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing/ panelling, CP brass /stainless steel screws, tower botls, adjustable stays, hinges, door handles, door lock etc. as per design, all complete as per architectural drawings including polysulphide/silicon sealant at the junction of GI flashing and window junction to make water type, and the directions of Engineer-in-charge. [Glazing and panelling will be paid for separately].
a) | For fixed portion | Kgs |  |  | 0
b) | For shutters of doors, windows, sliding windows & ventilators including providing and fixing hinges/pivots including the cost of PVC/neoprene gasket & fittings etc. | Kgs | 170 |  | 0
2 | Providing and fixing pre-laminated three layer medium density (exterior grade) particle board Grade-I, Type-II conforming to IS : 12823 bonded with phenol formal-dehyde synthetic resin, of approved brand and manufacture in panelling fixed in aluminium doors, windows shutters and partition frames with CP brass/ stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. |  |  |  | 0
a) | 12mm thk Pre-laminated particle board with decorative lamination on both sides. | Sqm | 18 |  | 0 | 15.12
3 | Providing & fixing flush door shutters core of block board construction, synthetic resin bounded chemically impregnated with frames of first class hard wood & well matched 3mm thick ply on both faces including minimum 3mm thick teakwood lipping alround heavy type 3 Nos 125 mm size anodised aluminium butt hinges with matching screws for each shutter etc. all complete including ironmongry for each shutter.
a) | 38mm thk with commercial board with veneers on both sides. | Sqm | 5.67 |  | 0
4 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge. [Cost of aluminium snap beading shall be paid in basic item] |  |  |  | 0
a) | 5mm thick toughened glass ( weight not less than 12.50 Kg./Sqm ). | Sqm | 18 |  | 0
b) | Extra over tender Item above for using 6mm thick toughened glass instead of 5mm thick toughened glass. | Sqm |  |  | 0
5 | Providing and fixing artificial grass carpet/turf of approved quality, colour, texture and pile height on basement RCC columns, including cutting and shaping to column profile, necessary backing/support, adhesive/fixing arrangements, jointing, edge finishing, wastage, labour, scaffolding/ladders, tools and tackles, and all incidental works required to complete the installation in all respects as per approved sample and Engineer-in-Charge’s instructions. | Sqm | 122.631 |  | 0
0 | TOTAL TO SUMMARY | 0 |  |  | 0
0 | GRAND TOTAL | 0 |  |  | 0

## Flooring BOQ
CHATTARPUR TEMPLE
ESTIMATE FOR CIVIL WORKS
S.NO. | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| CIVIL WORKS |  | TEMPLE |  | TEMPLE
| CONSTRUCTED AREA | SQM | 557
A | FLOORING WORKS | 0
1 | Providing & fixing 20mm thick pre-polished Italian Marble cladding of approved shade and pattern on RCC/brick column surfaces, fixed with approved stainless steel cramps/anchors and backing mortar/adhesive as required, including machine cutting, edge polishing, chamfering, grooves (where specified), filling joints with white cement mixed with matching marble pigment, scaffolding, and all necessary accessories, complete in all respects as per approved drawings and the instructions of the Engineer-in-Charge. The rate shall include cutting, polishing, edge finishing, fixing hardware, and all incidental works.[Basic Rate Rs.400/- per Sqft] | Sqm | 44 |  | 0
2 | Providing & laying in floor matt finish ceramic tiles without warpage, of approved make, colour and size, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigment etc. complete (Basic rate Rs.48/- per Sft). | Sqm | 209 |  | 0
3 | Providing & laying tile work in skirting and dado over 12mm thick bed of cement mortar 1:3 ( 1 cement : 3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment of matching shade complete (Basic rate Rs.48/- per Sft). |  |  |  | 0
a) | Ceramic tiles (as per manufacturer's specifications) | Sqm | 80 |  | 0
b) | Providing and fixing of Highlighter in cladding with a Base Plaster of 20 to 25mm thickness Including the Epoxy Grout etc. complete as directed. (The basic rate of tiles shall be Rs 100/-Per Rft). | Rmt |  |  | 0
4 | Providing & laying minimum 20mm thk Granite stone slabs of any size, of uniform shade in flooring and landing laid over 20mm thick base of cement of 1:4 (1 cement : 4 coarse sand) jointed with white cement slurry i/c rubbing, polishing & rounding of edges / nosing etc. complete as per specifications. (Basic Cost of Material Rs.180/Sft) |  |  |  | 0
a) | Flooring and landing | Sqm |  |  | 0
b) | Wall cladding/skirting | Sqm |  |  | 0
c) | Same as above but on staircase steps and riser of approved shade. | Sqm |  |  | 0
5 | Providing and laying 10mm thk vitrefied tiles in floor without warpage, of approved make, colour and size, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement and matching pigment etc. complete in all respects as per manufacturer's specifications. [Basic Rate Rs.59/- per Sft] | Sqm | 376 |  | 0
a) | Specifications same as above but in skirting/Dado. | Sqm | 106 |  | 0
6 | Providing and fixing PVC wall panel of approved make, design, colour, texture and thickness, including all necessary framework/support, adhesive, screws, fasteners, trims, corner profiles, jointing and edge finishing, cutting and fitting to required sizes, and all labour, tools, tackles, scaffolding and incidental works, complete in all respects as per approved sample, manufacturer’s specifications and as directed by the Engineer-in-Charge. | Sqm | 281 |  | 0
0 | TOTAL TO SUMMARY | 0 |  |  | 0
0 | GRAND TOTAL | 0 |  |  | 0

## PLUMBING EST
BILL OF QUANTITIES ( TOILET )
SR. NO. | BOQ ID | BOQ NAME | DESCRIPTION | NOTES | UOM | QUANTITY | RATE | AMOUNT
Covered Area (Sqm)
|  | Notes | Notes
|  | Notes | The Items with basic rate to be confirmed wrt tender/contract/work order and procurement of materials for items with basic rates to be initiated only after prior approval from procurement/contracts team.
|  | Notes | Contractor to ensure that all the debris, unsued material is removed from work area on regular basis and area is cleaned after completion of work in the area/section.
|  | Notes | Contractor to ensure that the finished work is protected against damages with proper covering/protecting material till handover of the works/project.
|  | Notes | In case of fabrication works, Contractor to submit shop drawing for approval and start the work only after approval of shop drawings.
|  | Notes | Prior to commmcement of painting works contractor to ensure that the colour code is approved by Client's Architect
|  | Notes | Samples of all flooring, tiling, granite, CP & sanitary fittings, glasss, ACP, window, facade and any other finishing material as specified in the BOQ elsewhere shall be procured only after obtaining approval from Client's Architect.
|  | Notes | All the flooring material shall be of FIRST QUALITY & free from any cracks / deformities / damages colour variations /Undulations etc
|  | Notes | The contractor should furnish detailed work methodology prior to commencement of work for approval of Project Manager/ Architect for all water proofing work as directed.
|  | Notes | All water proofing work shall be demonstrated to be 100% water tight and covered by 10 years guarantee in writing, on stamp paper.
|  | Notes | All the items of work in the schedule of rates shall be carried out as per specifications, drawings and instructions of the Engineer‑in‑Charge
| WORK-CATEGORY : CIVIL WORKS | WORK-CATEGORY : CIVIL WORKS
A |  | SUPERSTRUCTURE | SUPERSTRUCTURE
1 |  | Plain cement concrete | Plain cement concrete
|  | Plain Cement Concrete | Providing & laying in position machine mixed and machine vibrated M10 grade controlled cement concrete in all locations, at all levels, of any shape and size as per draw ings, conforming to IS 456-2000; rate to include mix design, production, pouring concrete w ith pump, vibrating, finishing, curing, testing complete as per specifications, draw ings and instructions. Rate to also include rectification and repairing of defects as per specifications and instructions as directed. Shuttering to be paid separately. Basic rate is landed price of material at site including unloading and all applicable taxes.( Note :-Cement Base Rate 225/- per Bag) |  | Cum |  |  | 0
2 |  | Reinforced cement concrete | Reinforced cement concrete |  |  |  |  | 0
|  | Notes | Note :-Scope of work under the concrete works item requires the contractor to carry out the work within specified tolerancies, rectify the defective concrete, grinding if required to remove the extra lumps from the RCC members, maintain specified levels of RCC members, remove all the shuttering material, nails etc. and hand over the site in a clean, vacant state; re-prop the slabs if they are to support extra loads than the design loads during construction of slabs above it till the time they are subjected to the extra loads. It also requires the contractor to implement health and safety measures to protect the work and human life by barricading the openings, edges, removing hazardous obstacles, providing lighting and signage till the completion of the overall work in his scope. No site mix concrete shall be allowed. Concrete shall be allowed through automated batching plant set up at site or outside RMC plant. |  |  |  |  | 0
2.1 |  | Reinforced cement concrete | Providing and laying in position design mixed reinforced cement concrete of Grade as mentioned below manufactured in automatic batching plant and transported to work location in transit mixer for all leads having continuous agitated mixer, manufactured as per approved design mix for all RCC works at all locations, of any shape and size, using graded stone aggregates of maximum 20mm nominal size obtained from approved quarry, coarse sand conforming to latest IS : 383 and cement as per approved design mix proportions conforming to latest IS : 456 including providing & mixing of admixtures in recommended proportions as per IS 9103 to accelerate / retard setting of concrete, improve workability without impairing strength and durability, including mix design, production, pumping if required, vibrating, finishing to required levels, curing, dewatering if required, all levels and heights, roughening and or hacking exposed concrete surfaces for key for plastering, grinding with carborandum stones over concrete spills / level difference in joints of concrete, testing, concreting in delayed pour strip. Rate also to include treating construction joints with approved construction chemicals, rectification and repairing of defects as per specifications and instructions etc. all complete as per drawings, specifications as directed. (Excluding the cost of centering, shuttering and steel reinforcement) |  |  |  |  | 0
2.1.1 |  | In walls, In columns in a square / rectangular profile, In slabs, floor beams & lintel beams etc. | In walls, In columns in a square / rectangular profile, In slabs, floor beams & lintel beams etc. |  |  |  |  | 0
2.1.1.1 |  | Grade of concrete M-25 | Grade of concrete M-25 |  | Cum |  |  | 0
2.1.1.2 |  | Grade of concrete M-30 | Grade of concrete M-30 |  | Cum |  |  | 0
2.1.1.3 |  | Grade of concrete M-35 | Grade of concrete M-35 |  | Cum |  |  | 0
2.1.1.4 |  | Grade of concrete M-40 | Grade of concrete M-40 |  | Cum |  |  | 0
2.1.2 |  | In wall stiffeners & bands, sills, copings, bunds etc. | In wall stiffeners & bands, sills, copings, bunds etc. |  |  |  |  | 0
2.1.2.1 |  | Grade of concrete M-25 | Grade of concrete M-25 |  | Cum |  |  | 0
2.1.2.2 |  | Grade of concrete M-30 | Grade of concrete M-30 |  | Cum |  |  | 0
2.1.2.3 |  | Grade of concrete M-35 | Grade of concrete M-35 |  | Cum |  |  | 0
2.1.2.4 |  | Grade of concrete M-40 | Grade of concrete M-40 |  | Cum |  |  | 0
2.2 |  | Precast lintels size 230mm x 150mm in RCC M25 grade | Providing and laying Precast lintels size 230mm x 150mm in RCC M25 grade with necessary reinforcements as per approved design and details. Rate to be inclusive of curing, Scaffolding, Staging, Compaction, shuttering, reinforcement etc., all complete as per approved design, drawing, specification and as directed. |  | Rmt |  |  | 0
2.3 |  | Precast lintels size 115mm x 150mm in RCC M25 grade | Providing and laying Precast lintels size 115mm x 150mm in RCC M25 grade with necessary reinforcements as per approved design and details. Rate to be inclusive of curing, Scaffolding, Staging, Compaction, shuttering, reinforcement etc., all complete as per approved design, drawing, specification and as directed. |  | Rmt |  |  | 0
3 |  | Shuttering | Shuttering |  |  |  |  | 0
3.1 |  | Centering & Shuttering Work | Providing & fixing in position, Centering & Shuttering Work at all levels, locations with approved quality material like plywood / Metal for different RCC members of all necessary shapes, sizes and orientation, joints, elements as enumerated below, any other detail, including strutting, scaffolding, propping, bracing, fastener nails, wires, providing and applying de-shuttering oil; removal or otherwise supporting formwork for concrete items as indicated and include cost of holding the forms in place for the specified time period, required by the concrete in the forms to gain sufficient required/designed strength, deshuttering on specified duration after concreting, packing/closing of holes after concreting and deshuttering with approved material/grout, the rates for the above items shall include for all consumables such as shuttering oil, nails, thermocol, providing holes, cutouts, slits and depressions, labour for fixing adequate pipe sleeves at all indicated locations with all leads and lifts etc. all complete as per drawings, specifications as directed. The formwork / shuttering for providing construction joints in concrete shall not be measured seperately. |  |  |  |  | 0
3.1.1 |  | In walls, In columns in a square / rectangular profile, In slabs, floor beams & lintel beams etc. | In walls, In columns in a square / rectangular profile, In slabs, floor beams & lintel beams etc. |  | Sqm |  |  | 0
3.1.2 |  | In wall stiffeners & bands, sills, copings, bunds etc. | In wall stiffeners & bands, sills, copings, bunds etc. |  | Sqm |  |  | 0
4 |  | Reinforcement Steel | Reinforcement Steel |  |  |  |  | 0
4.1 |  | steel reinforcement bars | Providing and fixing in position steel reinforcement bars (tested & prime quality, no re-rolled steel shall be used) in all categories and for all heights, levels, locations etc. including straightening, cutting, bending, hooking, binding with 18 gauge galvanized binding wires and keeping it in position during concreting by means of stays, blocks, ties, spacers, chairs, hangars. The rate shall include for binding wire, cover blocks, labour, loading and un-loading charges, transporation & other incidental charges, testing charges by approved agency as per relevant IS code/specification. Only authorised laps, hangars, spacers, chairs shall be measured and paid as per IS 1200 etc. all complete as per drawings, specifications and as directed. Note :- Scope of work under this item requires the contractor to submit a bar bending schedule and carry out the work as per approved bar bending schedule only. |  |  |  |  | 0
4.1.1 |  | TMT bars conforming to latest IS-1786, grade Fe-500 | TMT bars conforming to latest IS-1786, grade Fe-500 |  | MT |  |  | 0
4.1.2 |  | TMT bars conforming to latest IS-1786, grade Fe-500D | TMT bars conforming to latest IS-1786, grade Fe-500D |  | MT |  |  | 0
5 |  | STRUCTURAL STEEL | STRUCTURAL STEEL |  |  |  |  | 0
5.1 |  | structural steel works of MS rolled single / built-up sections | Supplying, fabricating, assembling, hoisting / erecting and fixing in position at locations specified below, structural steel works of MS rolled single / built-up sections conforming to IS 2062, including joist, channel, angle, tee, plates (plain or chequered) etc. all as per structural drawings and as per detailed specifications (for materials & workmanship) including necessary scaffolding / staging etc. complete in the situations described hereinafter and comprising of i) Profile Cutting of components to required lengths/widths and shapes/profiles, ii) Smooth grinding / machining of edges / faces / all welding joints iii) Preparing the surface to ensure complete removal of mill scale by using wire brushes & sand papering iv) Necessary welding (electric arc welding) for required weld lengths and sizes v) Providing and applying two coats of synthetic enamel paint of approved colour including single coat of zinc phosphate primer, cleaning and preparing the surfaces, filling the crevices with approved filler etc. 'Note: The contractor shall submit fabrication drawings for work involved based on construction drawings (that may be issued during construction period) for approval of the client / Client's Structural consultant. The fabrication work shall start only after approval of the fabrication drawings. etc. all complete as per approved fabrication drawings, specifications and as directed. |  |  |  |  | 0
5.1.1 |  | In MS supporting system for roofing including connecting plates | In MS supporting system for roofing including connecting plates |  | MT |  |  | 0
5.2 |  | MS structural work in Insert plate / base plate, cap plate, chequered plate, Hollow Mild Steel Sections | Providing, fabricating, erecting, fixing in position and connecting, MS structural work in Insert plate / base plate, cap plate, chequered plate, Hollow Mild Steel Sections conforming to IS 2062/ IS 1161/ IS 4923 as applicable, brackets with welding, providing bolts & nuts, washers, check nuts etc. welding electrode brand should be of approved make. Rate to include transporting of material to work site, loading & unloading of material, cutting, welding (shop and site), bolting wherever necessary, erecting in position bolting / welding to foundation, hold fast for insert plates, aligning & levelling, providing shim plate / grouting including Grit blasting, applying zinc phosphate shop coat in yard, and same primer coat after erection of structure and two coats of approved synthetic enamel paint on structural steel surface and wastage over the approved measured quantity. ( 1‐COATS OF ZINC PHOSPHATE & 2‐ COAT OF SYNTHETIC ENAMEL PAINT) Note: The contractor shall submit fabrication drawings for work involved based on construction drawings (that may be issued during construction period) for approval of the client / Client's Structural consultant. The fabrication work shall start only after approval of the fabrication drawings. etc. all complete as per approved fabrication drawings, specifications and as directed. |  |  |  |  | 0
5.2.1 |  | In MS supporting system for roofing | In MS supporting system for roofing |  | MT |  |  | 0
5.3 |  | precoated galvanised iron profile sheets | Providing and fixing precoated galvanised iron profile sheets of size, shape and pitch of corrugation as approved design, 0.45mm total coated thickness with zinc coating as per IS: 277, in 240 mpa steel grade. Sheet should have protective guard film of minimum25 microns to avoid scratches during transportation. The sheet shall be fixed using self drilling /self tapping screws, with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, cutting to size and shape including roofing accessories such as flashings, Gutter, ridges wherever required etc. all complete as per approved fabrication drawings, specifications and as directed. |  | Sqm |  |  | 0
5.4 |  | High strength bolts | Supply, Fixing and Installing in position at all level and of all diameter; High strength bolts, nuts, washers, etc. Conforming to IS Grade 8.8 for structural steel column, beams, angles, portal frames, steel structure etc. complete as per drawing and specifications and as directed. |  | Nos |  |  | 0
5.5 |  | Anchor Bolt | Fixing anchor bolt in position with nuts, pipe sleaves & Plates with necessary alignment as per drawing, the work shall be complete as per specification and as directed. (Bolts & Templates will be supplied by the PEB vendor) |  |  |  |  | 0
5.5.1 |  | Bolt M-12 | Bolt M-10 |  | Nos |  |  | 0
6 |  | Block Masonry (Solid Block) | Block Masonry (Solid Block) |  |  |  |  | 0
6.1 |  | Solid block works | Providing and constructing Solid block of approved make in cement mortar 1:6 (1 part Cement : 6 parts coarse sand) proportion in walls, piers and architectural features, similar type of works using approved quality blocks of strength of minimum 40 to 60 Kg / Sq cm including scaffolding, racking of joints in line and level, at all heights, elevations, level, locations, curing, raking out joints, wastage, cleaning, removing debris, with all leads and lifts etc. complete as per drawings, technical specifications and as directed. Note : The rate for 150mm/100mm thick blockwork shall include for RCC M20 grade band at sill level and at lintel level, to correct line, level and plumb etc. complete |  |  |  |  | 0
6.1.1 |  | In 200mm thick | In 200mm thick |  | Cum |  |  | 0
6.1.2 |  | In 150mm thick | In 150mm thick |  | Sqm |  |  | 0
6.1.3 |  | In 100mm thick | In 100mm thick |  | Sqm |  |  | 0
6.2 |  | Note: if AAC blocks to be used then joints to be finished with AAC block jointing mortor as per manufacturer's specifications | Note: if AAC blocks to be used then joints to be finished with AAC block jointing mortor as per manufacturer's specifications |  |  |  |  | 0
7 |  | Brick Masonry | Brick Masonry |  |  |  |  | 0
7.1 |  | brick masonry works | Providing and constructing brick masonry works using common burnt clay FPS bricks / fly ash in cement mortar 1:6 (1 cement : 6 coarse sand) using approved quality bricks having minimum crushing strength of 7KN/sqm, conforming to IS : 2185 (Part- I), including cutting, chamfering of bricks to correct line, level and plumb including providing independent double legged scaffolding if required, racking out of joints, wastage, curing etc., to all leads and lifts, locations, heights and levels complete as per drawing and specifications and as directed. Note : The rate for 150mm/115mm thick blockwork shall include for RCC M20 grade band at sill level and at lintel level and at the top for all thickness if masonry is not touching the concrete surface, to correct line, level and plumb etc. complete |  |  |  |  | 0
7.1.1 |  | In 230mm thick | In 230mm thick |  | Cum |  |  | 0
7.1.2 |  | In 150mm thick | In 150mm thick |  | Sqm |  |  | 0
7.1.3 |  | In 115mm thick | In 115mm thick |  | Sqm |  |  | 0
8 |  | Cement Plaster | Cement Plaster |  |  |  |  | 0
8.1 |  | 12mm thick plaster in cement mortar 1:4 (1 cement : 4 fine sand); to internal surfaces | Providing and applying 12mm thick plaster in cement mortar 1:4 (1 cement : 4 fine sand); to internal surfaces of concrete and masonry work; including raking out joints, hacking concrete surfaces, preparing junctions of concrete / masonry by neat cleaning, preparing jambs, sills, grooves, pattas, wattas, rounding of corners, etc. all complete as per architectural drawings, specifications and finished smooth with wooden rundha / rough to receive further finishing work etc. or as specified by the Engineer; at all leads, depth and lifts, including providing independent double-legged scaffolding, cleaning of surfaces, curing, providing & fixing G.I. Hexagonal chicken wire mesh confirming to IS : 3150 at the junction of dissimilar surfaces of brick / block masonry wall and RCC column / beams and the like including necessary "U" nails / screws with cleats for fixing, overlapping etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
8.2 |  | minimum 20 mm thick external sand faced cement sand plaster | Providing and applying minimum 20 mm thick external sand faced cement sand plaster in two coats, first coat to be 12 mm thick cement sand mortar 1:4 (1 cement : 4 coarse sand) including mixing approved pure acrylic based water proofing compound in the proportion recommended by the manufacturer in both the layers, keeping the surface of the base coat rough to receive sand faced treatment. Second coat to be 8 mm thick in cement sand mortar 1:3 (1 cement : 3 coarse sand) , finishing the surface, by taking out grains or keeping the surface rough to receive finishing work or as required to receive specified architectural external finish, to correct line, plumb and level to external faces of walls, soffits/ceiling if any, including racking out junctions of masonry and concrete and other dissimilar materials, hacking closely concrete surfaces, apply chemical adhesive coating to concrete surfaces wherever required and then apply a scratch coat plaster (prior to main plaster for positive bond), independent double legged scaffolding etc. Item also include plastering to precast concrete window sills, RCC cornices, making wattas, drip moulds, pattas, grooves (other than specially listed hereunder),etc.,doing curing, cleaning, providing & fixing G.I. Hexagonal chicken wire mesh confirming to IS : 3150 at the junction of dissimilar surfaces of brick / block masonry wall and RCC column / beams and the like including necessary "U" nails / screws with cleats for fixing, overlapping etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
8.3 |  | 12 to 15 mm thick Fine Gypsum plaster | Providing & Applying 12 to 15 mm thick Fine Gypsum plaster of approved make on internal RCC wall / beam & block wall and Ceilings surfaces along with Bonding agents to be used on all RCC surfaces before applying gypsum. Rate shall be include for Surface Preparation, filling cracks in the background if any, surface cleaning / curing (if required), finishing of Electrical Switch Boxes, light points, DBs etc and necessary staging, scaffolding, G.I. diamond mesh, at all levels and elevations and also include cost of material, labour, unloading and shifting of material, water, lifts, leads, cleaning the work area after completion etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
8.4 |  | 12mm thick waterproof plaster for dado in W.C. and bath rooms | Providing and applying 12mm thick waterproof plaster for dado in W.C. and bath rooms in cement mortar 1:4 (1 cement : 4 fine sand) with neat finishing, floating using waterproofing compound of approved make and manufacturer at the rate of 1 Kilogram per bag of cement and curing; to internal surfaces of concrete and masonry work; including raking out joints, hacking concrete surfaces, preparing junctions of concrete / masonry by neat cleaning, preparing jambs, sills, grooves, pattas, wattas, rounding of corners, etc. all complete as per architectural drawings, specifications and finished smooth with wooden rundha / rough to receive further finishing work etc. or as specified by the Engineer; at all leads, depth and lifts, including providing independent double-legged scaffolding, cleaning of surfaces, curing, providing & fixing G.I. Hexagonal chicken wire mesh confirming to IS : 3150 at the junction of dissimilar surfaces of brick / block masonry wall and RCC column / beams and the like including necessary "U" nails / screws with cleats for fixing, overlapping etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
9 |  | FLOORING, SKIRTING & CLADDING | FLOORING, SKIRTING & CLADDING |  |  |  |  | 0
9.1 |  | polished granite Works | Providing & laying in position 18mm thk. mirror polished granite of approved colour & size all as per drawing, laid over appropriate thickness of mortar as per drawing (to make up required finished floor level) in mix 1:6, joints shall be pointed with the matching cement based polymer grout with polished and unpolished surfaces of the slabs shall be finished with sealer coats of approved make and complete. in case of Treads and risers to be of single piece to full width of step. The front edge of treads shall be of single thickness, by attaching another piece of polished Granite stone of the same material for full length of tread using epoxy adhesive, duly laminated the edges bull nosed and finished neat with pigmented cement, rounding or chamfer on edges, V grooves etc. all as per drawings including polishing the floor three or more coats as required to produce a mirror finish, wax polishing, etc. all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
9.1.1 |  | In Landings | In Landings |  | Sqm |  |  | 0
9.1.2 |  | In treads | In treads |  | Sqm |  |  | 0
9.1.3 |  | In Risers | In Risers |  | Sqm |  |  | 0
9.1.4 |  | Vertical for the flower beds | Vertical for the flower beds |  | Sqm |  |  | 0
9.1.5 |  | Door threshould & Ramp strips | Door threshould & Ramp strips |  | Rmt |  |  | 0
9.1.6 |  | in twin Granite frame but with 1:4 cement mortar | in twin Granite frame but with 1:4 cement mortar |  | Rmt |  |  | 0
9.1.7 |  | 250mm wide granite sill | 250mm wide granite sill with 6mm chamfer, edge polish, projected 6mm out at external glazing, as per pattern indicated in drawing set in cementious adhesive, Joints in the sill to be filled with grout of approved shade as per manufacturer's specifications etc. all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
9.1.8 |  | in ledges, copings, over bund walls or any other location | in ledges, copings, over bund walls or any other location fixed in white cement slurry floated over bed mortar pigmented to match the shade of stone slab, joints to have hairline finish (unless otherwise specified) and finished with matching coloured pigment and white /grey cement etc. all complete as per approved design, drawing, specification and as directed. |  | Rmt |  |  | 0
9.1.9 |  | Kota Flooring | Providing and fixing machine cut, mirror pre-polished Green Kota stone slab skirting, (as specified below), of 100 mm height, of approved shade on walls, columns, partitions, including 15mm thick backing coat of cement mortar in 1:3 (1 cement : 3 coarse sand), fixed in grey cement slurry / paste with matching pigment for joints, joints to match with the line of floor joints, edge polishing etc., complete as per drawings and details and as directed by the Engineer. |  |  |  |  | 0
9.1.9.1 |  |  | Skirting in approved machine cut mirror pre-polished Green Kota stone slabs, 20mm thick |  | Sqm |  |  | 0
10 |  | VITRIFIED TILES FLOORING & DADO WORK | VITRIFIED TILES FLOORING & DADO WORK |  |  |  |  | 0
10.1 |  | TILES FLOORING | Providing and laying tiles of approved make, shade, sizes, quality and conforming to IS 15622-2006, IS 13630, in approved pattern for flooring and similar other locations as shown in the drawings laid over a bed of cement mortar 1:4 with cement slurry. The joints between tiles to be maintained with 2mm thick spacers & same to be filled with impervious epoxy tile grout of approved make, shade etc. Rate to include finishing to required level, curing, protecting the flooring with polythene sheet till handing over, cleaning with dilute acid etc., all complete as per approved design, drawings, specifications and as directed. |  |  |  |  | 0
10.1.1 |  | In Anti-skid Vitrified tiled flooring | In Anti-skid Vitrified tiled flooring |  | Sqm |  |  | 0
10.1.2 |  | In Anti-skid ceramic tiled flooring | In Anti-skid ceramic tiled flooring |  | Sqm |  |  | 0
10.1.3 |  | In Matt finished Vitrified tiled flooring | In Matt finished Vitrified tiled flooring |  | Sqm |  |  | 0
10.2 |  | Ceramic Wall tiles | Providing and fixing Ceramic Wall tiles of approved make, shade , sizes, quality for skirting/ dado/ cladding and similar other locations as per pattern indicated in drawing and conforming to IS 13630, including cutting to required shape, fixing the tiles on wall with rich cement mix, finished to proper line, levels. The joints between tiles to be maintained with 2mm thick spacers & same to be filled with impervious epoxy tile grout of approved make, shade etc. Rate to include the cost of making cut-outs for electrical outlet, curing, cleaning with dilute acid etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
11 |  | Waterproofing | Waterproofing |  |  |  |  | 0
11.1 |  | pure acrylic based Polymer Modified Cementitious water proofing treatment | Providing and laying pure acrylic based Polymer Modified Cementitious water proofing treatment to horizontal & vertical surfaces upto the required height of 1 meter and bottom of toilet sunken slabs, trenches or any other locations as directed, with proper gradient, protective topping suitably finished or keeping rough to receive tiles, surface preparation, injection grouting wherever required using shrinkage compensating plasticising admixture etc. complete all as detailed hereinafter including testing for leak-proofness, 7 days pond test with guarantee for a period 10 years etc. complete. (i) Applying Ist coat of approved pure acrylic Polymer Modified Cementitious water proofing compound (pure acrylic co-polymer) mixed with cement in proportion of 1: 1.25 (1 pure acrylic Polymer Modified Cementitious water proofing compound : 1.25 Cement) by weight. (ii) Applying IInd coat of approved pure acrylic Polymer Modified Cementitious water proofing compound (pure acrylic co-polymer) mixed with cement in proportion of 1: 1.25 (1 pure acrylic Polymer Modified Cementitious water proofing compound : 1.25 Cement) by weight, keeping 24 hour interval between successive coats. After 24 hours of air curing, the treated surface shall be kept wet using hessian cloth for next 3-4 days. (iii) After 3-4 days of curing, apply IIIrd coat of approved pure acrylic Polymer Modified Cementitious water proofing compound (pure acrylic co-polymer) mixed with cement in proportion of 1: 1.25 (1 pure acrylic Polymer Modified Cementitious water proofing compound : 1.25 Cement) by weight (iv) Applying 12mm thick protective screed plaster in cement mortar 1:3 (1 cement : 3 coarse sand) mixed with pure acrylic based water-proofing compound as per manufacturer's specification, keeping the surface rough to receive further finishing coat / tiles, curing, The rate includes cleaning the slab surface of all mortar fallings, opening, filling / grouting cracks, injection grouting to RCC surfaces, necessary curing and drying period for each coat, providing proper bonding keys in each layer and 75mm vata on all junctions etc. all complete as per drawings,as per manufacturer's guide lines, specification and as directed. |  | Sqm |  |  | 0
12 |  | Brick Bat filling | Brick Bat filling |  |  |  |  | 0
12.1 |  | waterproofing in W.C. and bath including brick bat coba | Providing waterproofing in W.C. and bath including brick bat coba in all position including providing and laying 12mm bedding in cement mortor 1:3 on vergin concrete slab or laying surface with waterproofing compound @ 1Kilogram/per bag of cement or as per manufacturer's recommandation, laying brick bat coba of required thickness in cm 1:5 with waterproofing compound 1 Kilogram/bag of cement grouting and finishing the top layer with 20mm thick brick bedding in cm mortor 1:3 with waterproofing compound 1 Kilogram/per bag of cement and testing the treated portion for 7days by pond test and covering ten years' guarantee on requisite stamp paper including curing etc., all complete as per approved design, drawing, specification and as directed. |  | Cum |  |  | 0
12.2 |  | toilet waterproofing | Providing & applying toilet waterproofing as per below specifications, Part-A; 1) The surface shall be cleaned thoroughly for and any mortar droppings, debris etc., mechanically abraded with carborandum stone, wire brush and washed with plenty of water. The surface shall be free from dust, dirt and foreign materials before starting the treatment. 2). Before starting the grouting process, a 75mm depth water ponding for 10 days shall be carried out after plugging the trap hole to identify any loose pockets which have potential for leakage and create water ingress in the floor slab. 3) All construction joints, honey combed concrete, leakage / damp areas in the slab shall be treated with pressure grouting using cement slurry mixed with an approved grout admixture at the rate of 0.45 Kg per bag of cement. The pressure grouting shall be done through sockets to fill the pores in the concrete at construction joints, vertical surfaces, columns and wherever leakages are expected during cleaning / water ponding of the surface. The junction of vertical and horizontal surface shall have the CANTS at 450 using water resistant polymer additive modified mortar CM 1:3 as detailed in drawings. 4) All water supply and sanitary lines in the toilets shall be sealed with an approved silicone sealant all-round the pipes including grouting with cement slurry mixed with an approved grout admixture as detailed in drawings. 5). After the above said steps of primary treatment, the slab surface shall be applied with primer coat consisting of cement slurry admixed with an approved grout admixture at the rate of 225 gms per bag of cement. The primer coat shall be neatly filled to seal all voids, pores, undulation in the surface to make the surface water tight Part B; 1). After completion of the primary treatment a layer of two coats of an approved equivalent cementitious acrylic waterproofing coats shall be carried out on horizontal and vertical surfaces of the toilet as shown in the drawings. The coated surface should be water cured for a minimum period of three days. 2) On completion of curing process, a layer of CM 1:4, 20 to 25 mm thick water proofing plaster admixture with an approved integral waterproofing compound at the rate of 130 ml per bag of cement shall be carried out in 2 layers. Broken jelly may be placed on the 1st coat of plaster for 2nd coat plaster work. The necessary slopes from entrance door towards water escape pipe shall be made in accordance to the site requirement as detailed in drawing. The waterproofing treatment shall be carried out on all side walls up to 600mm above toilet finished floor level and all beam tops, junction etc. 3) The treated surface shall be flooded with water upto slab drop for a minimum period of 4 days for curing cum testing purposes. After 4 days, get the same checked and certified before proceeding for further activity. During this period, leakage, dampness etc., shall be observed and if any defects found shall be arrested immediately before starting further activities. Part C; the depth of sunk is 300mm the same shall be made up by using well burnt selected brick bats free from over and under burnt brick bats shall be laid to the require slope. Admixture with an approved integral waterproofing compound including the gap between the brick bats to also be grouted with the same mortar. A layer of 50mm thick M20 screed concrete to the required level and gradient admixture with an approved integral waterproofing compound shall be carried out before tiling layer taken up. etc. including testing for leak-proofness, 7 days pond test, with guarantee for a period 10 years etc. all complete as per detailed, drawings , specifications and as directed by engineer in charge. |  | Sqm |  |  | 0
13 |  | Wooden Doors | Wooden Doors |  |  |  |  | 0
13.1 |  | Providing and fixing wood work in frames for doors | Providing and fixing wood work in frames for doors shaped to size and designs as indicated in the drawing including cutting, plaining, making rebates, jointing as directed, fixing in position to jambs with heavy duty PVC rawl plugs and counter sunk flush bolts (countersunk area of the door frame shall be filled and finished to match as directed) of approved size and quality minimum 6 nos. per door, (or with holdfasts of 225 mm x 40mm x 3mm MS flats, splayed at ends, minimum 6 nos. per door, fixed with screws to wooden frames and 1:3:6 concrete blocks of 400 x 200 x 250mm for embedding holdfasts), 'with two coats of approved wood preservative to the unexposed faces & in joints including finishing the frame in approved synthetic enamel paint of approved colour to match laminate of the shutter, etc. all complete all per approved drawings and as directed by the Engineer. 'Using approved seasoned Steam Beech wood finished with three coats of melamine polish and as per profile shown in the drawings. |  | Cum |  |  | 0
13.2 |  | 35mm thick single leaved flush door shutters | Providing and fixing 35mm thick single leaved flush door shutters of solid core block, construction with stile frame, rails and internal lipping out of hardwood well seasoned and kiln dried, bonded with phenol formaldehyde synthetic resin, ply facing, including 12mm thick teak wood beading all around the edges of shutter internal / external side as shown in the drawings, teak wood edge lipping finished in approved synthetic enamel paint, providing and installing 50 x 20mm sized architraves (on inner side of door), Shutters to be finished both sides with 1mm thick laminate of approved make, shade and quality, necessary accessories, SS screws, bottom & side door seals, Rate shall include providing and fixing all SS 304 Grade iron mongaries as specified including necessary cutouts etc., complete as per approved design, drawing, specification and as directed. |  |  |  |  | 0
13.2.1 |  | (For Door D2) 900mm x 2100 mm with louvered ventilator of 150mm height | (For Door D2) 900mm x 2100 mm with louvered ventilator of 150mm height at bottom and of required width & including iron mongaries such as i) 4 nos. of heavy duty butt hinges of 127 x 76 x 3mm per shutter ii) 1 No. door stopper per Shutter, iii) surface / exposed door closer, iv) 300mm long pull handles, v) Knob etc. |  | Sqm |  |  | 0
13.2.2 |  | (For Door D1) 750mm x 1945 mm including iron mongaries | (For Door D1) 750mm x 1945 mm including iron mongaries such as i) 4 nos. of heavy duty butt hinges of 127 x 76 x 3mm per shutter ii) 1 No. door stopper per Shutter, iii) baby latch iv) 125mm long pull handles, v) Knob etc. |  | Sqm |  |  | 0
14 |  | PAINTING | PAINTING |  |  |  |  | 0
14.1 |  | Plastic Emulsion Paint | Providing & applying Plastic Emulsion Paint 90-100 microns, premium quality of approved make and shade, Low VOC, water based, including scaffolding at all levels surface preparation uniformity & smoothness, primer & application of Acrylic based white putty in two coats over cement plastered walls, ceilings etc. to achieve even & smooth surface and to get uniform levelled surface. Paint shall be antifungal & bacterial resistant etc. complete and including, providing plastic to cover floor, cleaning of floors, door window frames, covings including scaffolding, surface preparation, sand papering, primer, cleaning and clearing the area etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
14.2 |  | Apex exterior grade | Supply and applying Apex exterior grade paint of approved make, shade (To be approved by architect / Engineer Incharge before execution) on waffle wall, system will be one coat of primer + two coat of paint with preparation as required, as per techincal specifications of the manufacturer of the paint etc. complete all as per approved shop drawings,technical specifications and as directed. |  | Sqm |  |  | 0
15 |  | Toilet Platform & Partion Work | Toilet Platform & Partion Work |  |  |  |  | 0
15.1 |  | wash basin/ vanity/ platform counter | Providing and constructing machine cut, pre-polished stone slab wash basin/ vanity/ platform counter 600mm wide, housed on brick masonry wall supports as per drawing, placed over 25mm thick kadappa stone slab (polished on bottom & side face, unpolished at top to receive mortar) at bottom with cement mortar bedding in between & neat white cement float, vertical 25mm both side polised kadappa support if required, including all necessary fixing accessories like pins, brackets, making necessary cutouts for sanitary fittings and fixtures etc. as required., The rate to include 150mm wide mirror pre-polished granite stone facia including edge moulding, 100mm wide granite stone backsplash, polishing, protection with polythene sheet till hand-over etc., all complete as per approved design, drawing, specification and as directed. |  |  |  |  | 0
15.1.1 |  | Wash Basin Counter in approved 20mm thick pre-polished Granite stone slab | Wash Basin Counter in approved 20mm thick pre-polished Granite stone slab |  | Sqm |  |  | 0
15.2 |  | Urinal partitions | Providing and installing in position Urinal partitions of approved material as specified below including cutting to size, shape as per drawing, cutting holes of required size in the appropriate places to receive pipes, fixing in wall panels using approved SS clamps, fasteners, accessories, cleaning etc., all complete as per approved design, drawing, specification and as directed. |  |  |  |  | 0
15.2.1 |  | using 12mm thick HPL, edge form | using 12mm thick HPL, edge form |  |  |  |  | 0
15.2.2 |  | using 20mm thick machine cut, both side polished approved Granite stone, | using 20mm thick machine cut, both side polished approved Granite stone, edge polishing, chamfering etc. |  | Sqm |  |  | 0
16 |  | 6mm thick bevelled edge mirror | Providing & fixing mirror in required size made out of 6mm thick bevelled edge mirror glass of approved make panels including 9mm thick commercial ply backing, hard work frame including treating the ply & wooden surfaces in contact with concrete & masonry surfaces with two coats of approved wood preservative & anti-termite treatment, top and side 25mm thick hardwood edge lipping finished with three coats of melamine polish, necessary scaffolding / staging, accessories, all joinery work, adhesives, making grooves if required etc. all complete as per approved shop drawings, technical specifications and as directed. |  | Sqm |  |  | 0
17 |  | Ventilator | Ventilator |  |  |  |  | 0
17.1 |  | glass louvers Ventilator | Supplying and fixing fixed type 4 mm thick opaque glass louvers with anodized aluminium framing of approved make, size, shape and design as per details, provision for fixing of 6" exhaust fan including all fittings and fixtures. Rate Include louvers, fixing of glass with special EPDM gasket felt and approved aluminium beading with all materials and labour, approved quality of silicone sealant at joints of glass and on all sides externally and internally etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
18 |  | Metal False Ceiling | Metal False Ceiling |  |  |  |  | 0
18.1 |  | Metal grid tile false ceiling | Providing and fixing Metal grid tile false ceiling consisting of approved make. (A) 600mm x 600mm x 0.5mm thick Metal grid tiles with square edging having Light reflectance: 77%, Perforations: 2.5mm Dia perforation, Colour: Warm White, NRC: In the range of 0.1, Finish: Polyester painted. The tiles to be laid on 15mm grid systems with 15mm wide T - section flanges colour white having rotary stitching on the Main Runner, 1200mm & 600mm Cross Tees. Suspension system consisting of hot dipped galvanised steel main runners spaced at 1200mm centres securely fixed to the structural socket by approved hanger at 1200mm maximum centre. The last hanger at the end of each main runner should not be greater than 450mm from the adjacent wall. Flush fitting 1200mm long cross tees to be interlocked between main runners at 600mm centre to form 1200mm x 600mm module. Cut cross tees longer than 600mm require independent support. 600mm x 600mm module to be formed by fitting 600mm long flush fitting cross tees centrally between the 1200mm cross tees. Perimeter trim wall angles or channel, secured to walls at 450mm maximum centres. providing slit openings for fixing supply/return air grill, lighting fixtures, AC ducts etc. all complete. False ceiling will be measured on horizontal plane surface only. edge moldings, fascias, etc.,Rate quoted to include all cut-outs required for light fixtures, smoke detectors and other services cut-outs, The Tile & Grid system used together shall carry a 10 year warranty against manufacturing defect and manufacturer shall provide a warranty certificate. The Tile & Grid shall have the manufacturers name embossed/printed on it. The supply shall be backed by a Manufacturing Test Certificate. etc., all complete as per approved design, drawing, specification and as directed. |  | Sqm |  |  | 0
19 |  | Toilet Cubicle | Toilet Cubicle |  |  |  |  | 0
19.1 |  | Toilet Cubical | Providing & fixing Toilet Cubical of approved equivalent make of standard dimension which includes door of required size as specified in the drawings made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate panels tested by authorised agency. Finish of the compact laminate should be as per approved texture/shade as mentioned in the detail drawings & as per IS 2046 and as per fire retardant BS-476/97 standard. The product should have Green Guard Certificate. This also includes providing and fixing in position necessary hardware made out of Stainless steel (Grade 304) as per manufacturer’s specifications & Architects instructions like (1) Door Knob, (2) Gravity Hinges, (3) Thumb turn lockset with Occupancy indicators, (4) Coat hooks with Door stopper (5) U-Channels, (6) Adjustable foot/pedestal, (7) Top rail with Corner connector (8) Rubber noise deafening tape, (9) Screws & wall Plugs. The top fitting should consist of SS round top rail which will get fixed with pilasters, with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the ss top rail. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm. |  |  |  |  | 0
19.1.1 |  | Toilet Cubicle | Toilet Cubicle with dimensions as per drawings (contractor to submit shop drawings for approval prior to manufacturing / supply) |  | Nos |  |  | 0
|  |  | TOTAL (CIVIL WORKS) |  |  |  |  | 0
| WORK-CATEGORY : PLUMBING | WORK-CATEGORY : PLUMBING
20 |  | Toilet Plumbing | Toilet Plumbing
20.1 |  | Domestic water supply for 65mm to 20mm | Providing and fixing Internal Water supply: UPVC SCH- 80 & 40 pipes of ASTM D1785 with all SCH 80 fittings confirming to ASTM D 2467 , having thermal stability for Domestic water supply for 65mm to 20mm diameter including all UPVC plain and brass threaded fitting with necessary specials, couplers, elbow, equal tees, tail piece, brass adapter (both male and female), reducer (single stage, double stage and triple stage), end cap, fabricated bend, etc.,i/c fixing the pipes with clamps at 1.0 m spacing this includes testing of joints complete as per direction of engineer incharge. (Note- upto 50mm dia. SCH-40, above 50mm dia. SCH-80 pipe considered) Galvanised clamps and brackets, legend boards shall be included in the price |  |  |  |  | 0
20.1.1 |  | 15 mm dia | 15 mm dia |  | Rmt | 0 |  | 0
20.1.2 |  | 20 mm dia | 20 mm dia |  | Rmt | 0 |  | 0
20.1.3 |  | 25 mm dia | 25 mm dia |  | Rmt | 0 |  | 0
20.1.4 |  | 32 mm dia | 32 mm dia |  | Rmt | 0 |  | 0
20.1.5 |  | 40 mm dia | 40 mm dia |  | Rmt | 0 |  | 0
20.2 |  | gun metal/brass ball valve | Supplying & installing gun metal/brass ball valve conforming to IS: 1703. Ball valve must be having screwed ends. The ball valve should be with stand with maximum pressure up to 20 Kg/cm2. Complete in all respect . |  |  |  |  | 0
20.2.1 |  | 20 DIA | 20 DIA |  | Nos |  |  | 0
20.2.2 |  | 25 DIA | 25 DIA |  | Nos | 0 |  | 0
20.2.3 |  | 32 DIA | 32 DIA |  | Nos | 2 |  | 0
20.2.4 |  | 40 DIA | 40 DIA |  | Nos | 2 |  | 0
20.2.5 |  | 50 DIA | 50 DIA |  | Nos |  |  | 0
20.3 |  | UPVC SWR pipe | Providing & laying UPVC SWR pipe as per IS 13592 of “ approved make including jointing, UPVC fittings / specials, etc. complete. |  |  |  |  | 0
20.3.1 |  | 40 mm dia pipe | 40 mm dia pipe |  | Rmt | 0 |  | 0
20.3.2 |  | 75 mm dia pipe | 75 mm dia pipe |  | Rmt | 0 |  | 0
20.3.3 |  | 110 mm dia pipe | 110 mm dia pipe |  | Rmt | 0 |  | 0
20.4 |  | UPVC SWR "P" trap | Providing and fixing UPVC SWR "P" trap of approved make having min 50mm water seal including jointing, cutting, making good the walls, floors. Rate to include SS 316 Gratings of Chilli Brand for “P-Trap” with frame and cover embedded in floor with white cement mortar etc. complete as per manufacturer’s specification. Rate to include clams/hanger support for hanging plumbing, PCC 1:2:4 bedding below floor & all connection to soil & waste water from traps etc. complete as directed. |  |  |  |  | 0
20.4.1 |  | 110 mm x 75 mm | 110 mm x 75 mm |  | Nos | 5 |  | 0
20.5 |  | CPVC (Chlorinated Poly Vinyl Chloride) water supply pipes | Providing, fixing, jointing and testing in position CPVC (Chlorinated Poly Vinyl Chloride) water supply pipes of approved make with pipe as per CTS SDR 11 as per IS 15778 ASTM D-2846 (operating pressure - 7 Bar @ 82 Deg C and 28 Bar @ 23 Deg C) for pipes diameter from 1/2 Inch to 2 Inch. Schedule 80 Pipes to be used from 2-1/2 Inch to 6 Inch diameter . Pipes shall be joined using solvent welded CPVC fittings i.e. Tees, Elbows, Couplers, Unions, Reducers, brushings etc. including transition fittings (connection between CPVC & metal pipe/GI) i.e. Brass Adaptors (both Male & Female threaded) conforming to ASTM D-2846. ASTM F441 with only CPVC solvent cement conforming to ASTM F-493. All termination points for installation of faucets shall have brass termination fittings. Installation shall be to as per Technical Manual of manufacturer of pipes & fittings, including Providing, cutting and chasing in wall and floors including all supports , fittings & making good the same by using 1:1 cement mortar over the wire mesh (This will cover internal water supply i.e. From main shaft tapping up to internal common toilet For Domestic ) |  |  |  |  | 0
20.5.1 |  | 15 mm (Internal Toilets ) | 15 mm (Internal Toilets ) |  | Rmt | 24 |  | 0
20.5.2 |  | 20 mm ( Internal Toilets ) | 20 mm ( Internal Toilets ) |  | Rmt | 43 |  | 0
20.5.3 |  | 25 mm ( Internal Toilets ) | 25 mm ( Internal Toilets ) |  | Rmt | 0 |  | 0
20.5.4 |  | 32 mm ( Internal Toilets ) | 32 mm ( Internal Toilets ) |  | Rmt | 4 |  | 0
20.5.5 |  | 40 mm ( Main shaft area ) | 40 mm ( Main shaft area ) |  | Rmt | 2 |  | 0
20.5.6 |  | 50 mm ( Main shaft area ) | 50 mm ( Main shaft area ) |  | Rmt | 0 |  | 0
20.6 |  | threaded / double flanged water meter | Providing, fixing , testing and commissioning threaded / double flanged water meter of approved make with direct reading dial in KL with all necessary fitting such as threaded pieces, unions pressure gauge, isolation cock, flanges piece for future removal, flanges / unions, NRV,Stainer,Butterfly valve complete. |  |  |  |  | 0
20.6.1 |  | 20 mm | 20 mm |  | Nos | 0 |  | 0
20.6.2 |  | 25 mm | 25 mm |  | Nos | 0 |  | 0
20.6.3 |  | 32 mm | 32 mm |  | Nos |  |  | 0
20.6.4 |  | 40 mm | 40 mm |  | Nos |  |  | 0
20.6.5 |  | 50 mm | 50 mm |  | Nos | 0 |  | 0
20.7 |  | C.I. “Y” strainer | Providing and fixing C.I. “Y” strainer (screwed / flanged) with stainless steel fine wire mesh perforated sheet basket with necessary flanged / unions nuts, bolts and washers complete as required. |  |  |  |  | 0
20.7.1 |  | 20 mm dia. | 20 mm dia. |  | Nos | 0 |  | 0
20.7.2 |  | 25 mm dia. | 25 mm dia. |  | Nos | 0 |  | 0
20.7.3 |  | 32 mm dia. | 32 mm dia. |  | Nos | 0 |  | 0
20.7.4 |  | 40 mm dia. | 40 mm dia. |  | Nos | 0 |  | 0
20.7.5 |  | 50 mm dia. | 50 mm dia. |  | Nos | 0 |  | 0
20.7.6 |  | 65 mm dia. | 65 mm dia. |  | Nos | 0 |  | 0
0
0
20.8 |  | Making core cutting in RCC slabs / walls of various thickness. | Making core cutting in RCC slabs / walls of various thickness. |  |  |  |  | 0
20.8.1 |  | 200 mm thickness x 125 mm dia. | 200 mm thickness x 125 mm dia. |  | Nos | 0 |  | 0
20.8.2 |  | 200 mm thickness x 65 mm dia. | 200 mm thickness x 65 mm dia. |  | Nos | 0 |  | 0
20.8.3 |  | 200 mm thickness x 40 mm dia. | 200 mm thickness x 40 mm dia. |  | Nos | 0 |  | 0
20.8.4 |  | 200 mm thickness x 25 mm dia. | 200 mm thickness x 25 mm dia. |  | Nos | 0 |  | 0
20.9 |  | PVC pipe of approved make | Supply, installing, testing and commissioning of PVC pipe of approved make confirming to IS : 13592 SWR Type B and confirming to IS 4985 (Pipe Class III - 6 kg/sq.cm) cut to required lengths including all necessary fittings and specials such as bends, junctions offsets,Y Joint access pieces (plain or door),velocity breakers & vent cowl. Fixing at under sunk area with welded solvent joint. (This will cover Soil, waste pipe running from inside toilet area to inspection chember in shaft ) |  |  |  |  | 0
20.9.1 |  | 40 mm | 40 mm |  | Rmt | 10 |  | 0
20.9.2 |  | 50 mm | 50 mm |  | Rmt | 8 |  | 0
20.9.3 |  | 75 mm | 75 mm |  | Rmt | 4 |  | 0
20.9.4 |  | 110 mm | 110 mm |  | Rmt |  |  | 0
20.1 |  | PVC floor traps of self cleansing design | Supply, installing, testing and commissioning of PVC floor traps of self cleansing design with water seal not less than 40 mm., jointing with rubbering / solvent / solution and airtight joints, with necessary specials, cutting chases / hole in floors / slabs and bringing the same in proper condition and shape after placing the trap in right position in case of suspended / open plumbing or setting the trap in 1:2:4 Cement concrete in case of concealed plumbing , etc. complete, as required. The trap shall be of following sizes: Temporary airtight PVC cover to be provided to prevent dirt entry. |  |  |  |  | 0
20.10.1 |  | 75 mm dia outlet | 75 mm dia outlet |  | Nos | 0 |  | 0
20.10.2 |  | 75 mm dia outlet ( Urinal trap with solid grating ) | 75 mm dia outlet ( Urinal trap with solid grating ) |  | Nos | 0 |  | 0
20.10.3 |  | 110 mm dia outlet | 110 mm dia outlet |  | Nos | 2 |  | 0
20.11 |  | Heavy class S.S./ PVC grating with Mosquito proof S.S./PVC strainer | Supply and installing of Heavy class S.S./ PVC grating with Mosquito proof S.S./PVC strainer of approved make, (cockroach trap) including setting in floor with cement mortor to match with floor finish as per architect requirements |  | Nos | 7 |  | 0
20.12 |  | PVC multi traps 75 mm dia. ( 4 way) | Supply, installing, testing and commissioning of PVC multi traps 75 mm dia. ( 4 way) of self cleansing design with water seal not less than 40 mm, jointing with rubbering / solvent / solution and airtight joints, with necessary specials, cutting chases / hole in floors / slabs and bringing the same in proper condition and shape after placing the trap in right position in case of suspended / open plumbing or setting the trap in 1:2:4 Cement concrete in case of concealed plumbing , etc. complete, as required. The trap shall be of following sizes: Temporary airtight PVC cover to be provided to prevent dirt entry. |  |  |  |  | 0
20.12.1 |  | 75 mm dia outlet | 75 mm dia outlet |  | Nos | 0 |  | 0
20.13 |  | (PVC) SWR pipes of approved make, 4 kg/cm2 pressure, | Providing, fixing, jointing and testing heavy duty, (PVC) SWR pipes of approved make, 4 kg/cm2 pressure, open, low density, to wall, ceiling and floor, approved quality, complete, for Vent including jointing with rubbering / solvent / solution and airtight joints, with necessary specials, couplers, elbow, equal tees, tail piece, adapter (both male and female), reducer (single stage, double stage and triple stage), end cap, fabricated bend, etc., and lubricant or jointing material, including testing, cutting, making good the wall, ceiling and floor etc. complete of the following nominal bore (NB) size: The rate shall include the cost of PVC cowl for vertical downtake pipes. |  |  |  |  | 0
20.13.1 |  | 50 mm dia | 50 mm dia |  | Rmt | 0 |  | 0
20.13.2 |  | 75 mm dia | 75 mm dia |  | Rmt | 0 |  | 0
20.13.3 |  | 110 mm dia | 110 mm dia |  | Rmt | 0 |  | 0
21 |  | Toilet sanitory & Fitting fixture | Toilet sanitory & Fitting fixture |  |  |  |  | 0
21.1 |  | 150mm x 150 mm salt glazed stone ware gully trap | Providing and fixing in position 150mm x 150 mm clear inside best quality approved salt glazed stone ware gully trap including embedding trap in cement concrete, C.I. grating, and C.I. cover, housing the trap in brick masonry chamber 230mmx 230mm with 150 mm thick in cement mortar 1:3 over a bed of 100 mm thick 1:4:8 B.B.C.C., plastering both side and necessary excavation, curing etc., all complete as per approved design, drawing, specification and as directed. |  | Nos | R.O |  | 0
21.2 |  | oval / rectangular wash hand basin, counter top | Supplying, installing, testing and commissioning of oval / rectangular wash hand basin, counter top of approved make including CP pillar cock of long neck with 15 mm C.P. brass heavy grade flexible inlet connection with C.P. nut (minimum length 450 mm) made to measure, 32 mm heavy plated C.P. waste coupling fitting with or without pop-up, 32 mm heavy plated C.P. bottle trap with cleaning eye, 15 mm C.P. brass heavy quality angle stop cock , angle valves. The rate shall include cost of all necessary components such as extension nipple, wall flanges, teflon tape etc. labor, loading and unloading, transportation, with leads and lifts, all complete as per approved design, drawing, specification and as directed. |  | Nos | 5 |  | 0
21.3 |  | European water closet | Supplying, installing, testing and commissioning of European water closet of approved make comprising of :- Wall hung European W.C. Pan in white colour, C.P. health faucet with required length of flexible tube, clamp and bracket for fixing to wall, 15 mm C.P. brass heavy quality angle stop cocks for flushing cistern and health faucet, Solid bakelite, water closet cover and seat with C.P. hinges and rubber buffers, fixing W.C. unit with brackets and accessories in position, Painting bracket with two coats of white enamel paint over a coat of primer, flush plate with dual push button / flushing cistern, angle stop cocks, P.V.C. WC connector (straight or bend type) with rubber lip ring, 110 mm dia PVC pipe of required length and proper connection to C.I. / PVC pipe, C.P nuts, bolts etc. The rate shall include cost of all components such as extension nipple, wall flanges, teflon tape, making holes in walls & floors, & finishing for ready to use, labor, loading and unloading, transportation, with all leads and lifts, etc., all complete as per approved design, drawing, specification andas directed. |  | Nos | 2 |  | 0
21.4 |  | Indian water closet | Providing, fixing, testing & Commissioning of white vitreous china squatting pan Orissa pan water closet, Orissa pan type of size 580 x 440 mm (Size may vary as/model) with 100 mm sand cast iron `P' or `S' trap, set in cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 stone aggregate) 5 to 6 Litres capacity white PVC low level flushing cistern( Dual - Twin Flush Cistern)having all internal fittings, 32mm dia galvanised iron (medium class to IS:1239) flush pipe with fittings & clamps in-cladding necessary supports, C.P. nuts, bolts, unions, washers etc making holes in walls & floors and making good the same. |  | Nos | 1 |  | 0
21.5 |  | urinals | Supplying, installing, testing and commissioning of vitreous Large flat back urinals of approved make & Model no...... in white colour comprising C.P. waste coupling, C.P. bottle trap, C.P. stop cock, PVC connection, supporting brackets with concealed type wall hanger or special bracket in wall and hinged type C.P. dome gratings, C.P. flush pipes from flush, spreaders, full bore inlet caps as necessary made to measure, C.P. waste pipe leading to the bottle trap below Urinal Trap under each urinal pan, connection to Water-pipe & drain-pipe etc. complete. The rate shall include cost of all necessary components such as extension nipple, wall flanges, teflon tape,fastners, labor, loading and unloading, transportation, including etc., all complete as per approved design, drawing, specification and as directed. |  |  |  |  | 0
21.5.1 |  | Urinal with Manual Flush | Urinal with Manual Flush |  | Nos | 2 |  | 0
21.5.2 |  | Urinal with Auto Sensor | Urinal with Auto Sensor |  | Nos |  |  | 0
21.6 |  | c.p. water taps | Providing and fixing heavy ISI Mark approved quality 15mm c.p. water taps of approved make with washer etc. with all leads and lifts, complete as per approved drawings, specifications and as directed. |  | Nos |  |  | 0
21.7 |  | CPVC ball valve | Providing & fixing male/ female screwed end full way lever operated CPVC ball valve tested to a pressure 15 Kg / sqcm with (threaded joints), shall be threaded type referring to relevant IS code etc complete with all necessary accessories to make the system complete as per approved drawings, specifications and as directed. |  |  |  |  | 0
21.7.1 |  | 25 mm | 25 mm |  | Nos |  |  | 0
21.7.2 |  | 32 mm | 32 mm |  | Nos |  |  | 0
21.8 |  | Paper roll holder | Providing and fixing chromium plated Paper roll holder of approved make. Rate to include for all materials, labour, fixing, etc. complete. |  | Nos | 3 |  | 0
21.9 |  | Towel Ring | Providing and fixing chromium plated towel ring of approved make. Rate to include for all materials, labour, fixing, etc. complete. |  | Nos | 5 |  | 0
21.1 |  | Soap dispencer | Providing and fixing manual operated Soap dispencer of approved make. Rate to include for all materials, labour, fixing, etc. complete. |  | Nos | 5 |  | 0
21.11 |  | hand dryer | Providing and fixing hand dryer of approved make Rate to include for all materials, labour, fixing, etc. complete. |  | Nos | 1 |  | 0
22 |  | Inspection Chamber | Inspection Chamber |  |  |  |  | 0
22.1 |  | manhole in brickwork of 230mm thick | Providing and Constructing manhole in brickwork of 230mm thick class designation 7.5 N/mm2 bricks with cement mortar 1:5 (1 cement: 5 coarse sand), 150mm thick base leveling course with PCC M15, 150mm thick RCC top slab in grade M-20 having reinforcement in grade as specified the drawings, including making necessary provisions to recieve cast in situ / factory Manufactured manhole covers with frames of appropriate sizes alongwith lifting arrangement, plastered inside 12 mm thick in 1.3 (1 cement : 3 sand) with flushing coat of neat cement and making channels/benching in cement concrete M20 finished with a floating coat of neat cement and externally finished with 25mm plaster 1:4 (1 cement: 4 sand) with water proofing compound to be added as per manufacture's specifications, CI foot steps / rungs at 300 c/c for depth of manhole exceeding 750mm, etc., the scope of works include formwork, Fe-500-D reinforcement, curing, smoke test / water test, testing & transporting works, all machinery, necessary excavtion in all types of soil including soft and hard rock, chipping, to correct levels below ground upto required depth, dewatering if required, backfilling, Compaction, making good the surface as required, removal of surplus earth and shifting to the designated area within the project premises, stacking, levelling, all other incidental charges with all leads and lifts etc. all complete as per approved design, drawings, specifications and as directed. No additional payment for all earth work, backfilling, disposal, concrete, form work,reinforcement, plaster etc. (Excluding Man hole Covers). |  |  |  |  | 0
22.1.1 |  | Size 600X600X750 mm | Size 600X600X750 mm |  | Nos | 0 |  | 0
22.1.2 |  | Size 750X750X1000 mm | Size 750X750X1000 mm |  | Nos | 0 |  | 0
22.1.3 |  | Size 800X900X750 mm | Size 800X900X750 mm |  | Nos
22.1.4 |  | Size 1000 x 1000 x 1200mm | Size 1000 x 1000 x 1200mm |  | Nos | 0 |  | 0
22.2 |  | square mouth gully trap of size 450x450 mm | Providing and fixing square mouth gully trap of size 450x450 mm upto required depth, lead flashing around with required brick masonry chamber made of local best quality bricks, internally finished with cement plaster 1:4 with waterproofing. RCC cover with CI frame as per standard. |  | Nos |  |  | 0
22.2.1 |  | square mouth gully trap of size 300x300 mm | Providing and fixing square mouth gully trap of size 300x300 mm upto required depth, lead flashing around with required brick masonry chamber made of local best quality bricks, internally finished with cement plaster 1:4 with waterproofing. RCC cover with CI frame as per standard. |  | Nos | 0 |  | 0
22.3 |  | Precast Drain Covers | Precast Covers |  |  |  |  | 0
22.3.1 |  | precast RCC drain covers | Providing and fixing factory made precast RCC Manhole covers of thickness as specified in the drawings, having concrete of grade not less than M-25 of approved mix design, with reinforcement FE-500-D and frame conforming IS 12592:2002 with lifting arrangement, Test Load as per (IS-12592 Part 1) for Extra Heavy Duty is 45 MT, Heavy Duty is 25 MT, Medium Duty is 12 MT, Light Duty is 5 MT including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of appropriate size etc. all complete as per approved design, drawings, specifications and as directed. |  |  |  |  | 0
|  | HEAVY DUTY (12 MT) | HEAVY DUTY (12 MT) |  |  |  |  | 0
22.3.1 |  | 600 x 600 mm | 900 x 900 mm |  | Nos |  |  | 0
|  | MEDIUM DUTY (12 MT) | MEDIUM DUTY (12 MT) |  |  |  |  | 0
22.3.2 |  | 600 x 600 mm | 600 x 600 mm |  | Nos | 4 |  | 0
Drainage System
22.3.3 |  |  | The work of laying a new line by readjusting the levels of the existing stormwater/sewer line—including the installation of new RCC or PVC pipes (250 mm to 300 mm in diameter), the dismantling of old RCC work, and excavation—must be carried out strictly in accordance with the instructions of the Engineer-in-Charge and the approved drawings. |  | Rmt | 50 |  | 0
|  |  | TOTAL (PLUMBING WORK) |  |  |  |  | 0
23 |  | Miscellaneous Civil Work | Miscellaneous Civil Work
23.1 |  |  | Supplying of CHEMICAL ANCHOR FASTENERS of approved make consisting of Galvanized threaded rod 8.8 grade , cold formed (with minimum thickness of galvanizing of 5 microns) and pure epoxy based chemical like FIS EM Plus of Fischer or equivalent from approved makes, suitable to be used in cracked/non cracked concrete, having 100years working life, approved to be used in Diamond drilled/Water filled holes as per manufacturer's specification, packed in dual foil type, to be used with the help of dispenser including all accessories like nuts, washers etc. of required size., testing, necessary scaffolding, drilling of the holes in concrete surface with electric drill, cleaning of holes with air blowout & wire-brush and making good any damage done to the structure etc, all complete as per direction of Engineer in charge. Note: Chemical Anchoring design report shall be submitted by manufacturer to competent authority/Engg In-charge for approval prior to execution. |  |  |  |  | 0
a) |  | with 10mm Diameter Rod and 100mm standard embedment depth. | with 10mm Diameter Rod and 100mm standard embedment depth. |  | Each |  |  | 0
b) |  | with 12mm Diameter Rod and 125mm standard embedment depth. | with 12mm Diameter Rod and 125mm standard embedment depth. |  | Each |  |  | 0
c) |  | with 16mm Diameter Rod and 150mm standard embedment depth. | with 16mm Diameter Rod and 150mm standard embedment depth. |  | Each |  |  | 0
d) |  | with 20mm Diameter Rod and 175mm standard embedment depth. | with 20mm Diameter Rod and 175mm standard embedment depth. |  | Each |  |  | 0
23.2 |  |  | Supplying of Mechanical Anchors like FAZ II Plus of Fischer or equivalent from approved make for fixing in Columns, beams, slabs or any concrete structure for installation of steel structure / base plates designed to withstand the loads provided by the structural consultant or Project Internal design team. The anchor should be ETA approved for the application in cracked and non-cracked concrete and shall be approved for the use in Seismic condition with a minimum working life of 50 years. To ensure the safety of installation the minimum grade of the steel to be 5.8 in case of GI mechanical anchors and the selection of the other variants like Stainless Steel, HDG etc shall be done as per the project specification requirements. The number of anchors per support, diameter of anchor and the embedment depth should be as per the manufactures guidelines and design parameters and shall be approved by the relevant project design team/structural consultant/Engg In-charge prior to fixing of anchors. Lenght mentioned may vary as per site conditions. |  |  |  |  | 0
a) |  | M8/30 with 95mm Anchor Length | M8/30 with 95mm Anchor Length |  | Each |  |  | 0
b) |  | M10/30 with 115mm Anchor Length | M10/30 with 115mm Anchor Length |  | Each |  |  | 0
c) |  | M12/30 with 130mm Anchor Length | M12/30 with 130mm Anchor Length |  | Each |  |  | 0
d) |  | M16/50 with 173mm Anchor Length | M16/50 with 173mm Anchor Length |  | Each |  |  | 0
23.3 |  |  | Rebar-Providing and supplying heavy duty HILTI HIT-RE500 V4 (Resin Epoxy Chemical) with Steel Rebar. The product should be approved by ETA, TR 069, ICC, CSTB, COLA, BZS with Shock approval, Seismic approval in Rebars to use in cracked/un-cracked concrete, tested for service temperature of -40deg C to +80 deg C. The chemical should have ETA for service life of 100 years and is to be tested for water tightness. The installation depth shall be supported by design based on EC2/TR069/ HIT-Rebar Design Method using Profis Rebar Software and approved by Structure Enginer- incharge. Drilling hole with double flute type drill bits/hollow drill bits to the required depth by rotary hammer drill, cleaning with brush and jet of clean air, filling resin and hardener using serrated nozzle to eliminate mixing error with standard HDE A12 battery dispenser along with piston plug and extension hose for longer depths to ensure no air bubbles are in the hole and then fixing with Rods, conducting occasional site inspection, executing work by trained personnel and occasional supervision from the manufacturer’s representative in India. The installation and the setting instructions should be strictly followed as per the manufacturer’s recommendations. Pull out test report shall be submitted to the Structure engineer to validate the installation quality. |  |  |  |  | 0
a) |  | 8mm dia rebar at 100mm depth | 8mm dia rebar at 100mm depth |  | Each |  |  | 0
b) |  | 10mm dia rebar at 125mm depth | 10mm dia rebar at 125mm depth |  | Each |  |  | 0
c) |  | 12mm dia rebar at 125mm depth | 12mm dia rebar at 125mm depth |  | Each | 0 |  | 0
d) |  | 16mm dia rebar at 200mm depth | 16mm dia rebar at 200mm depth |  | Each |  |  | 0
23.4 |  | Chipping of RCC up to 40 mm thick | Chipping of RCC up to 40 mm thick and exposing steel reinforcement to facilitate, disposal of malba out side the premises as directed by Engineer-in-charge. Welding shall be paid separately. |  | Sqm | 0 |  | 0
23.5 |  | NITO BOND | Providing and applying NITO BOND to join Old and New surface of concrete including cleaning. |  | Sqm | 0 |  | 0
23.6 |  | slab by diamond cutter | Cutting of 150mm to 175mm thick RCC slab by diamond cutter including stacking the serviceable material and disposal of unserviceable material away from site outside the Campus as directed by the Engineer-in-Charge. The rate should also include cost of scaffolding if any. |  | Rmt |  |  | 0
23.7 |  | Dismantling of RCC including plaster/ guniting in beams, columns, slabs etc | Dismantling of RCC including plaster/ guniting in beams, columns, slabs etc. including removal of loose concrete in surroundig if any , stacking of serviceable material within campus and disposal of unserviceable material inside the premises as directed by the Engineer-in-Charge. The rate shall include the cost of scaffolding. |  | Cum |  |  | 0
23.8 |  |  | Welding of reinforcement. |  |  |  |  | 0
a) |  | Upto 16mm dia bar | Upto 16mm dia bar |  | Per Cm Length |  |  | 0
b) |  | Above 16mm dia bar | Above 16mm dia bar |  | Per Cm Length |  |  | 0
|  |  | TOTAL (MISCELLANEOUS WORK) |  |  |  |  | 0
|  |  | GRAND TOTAL |  |  |  |  | 0

## ELECTRICAL ESTIMATE
Maa Mahishasur Mardani Mandir (Chattarpur, New Delhi)
Electrical estimate
A | ELECTRICAL |  |  | Supply and Installation
SL.NO | DESCRIPTION OF WORK | QTY | UNIT | Rate (Rs.) | amount (Rs.)
1 | Distribution board
Supplying, installing ,connecting testing and commissioning of the following industrial type double door horizontal / vertical type IP-43, IK09 with metal door and metallic lock, made of 1.2mm & 1.6mm thick CRCA sheet steel enclosed fully recessed /surface type, Miniature Circuit Breakers Distribution Boards (As per IEC 61439 & 61641) dust proof, vermin proof, with hinged and panel locks with key doors complete with MCB's ( above 32 amp microprocessor based) and inter-connection with copper wires, or copper tapes, cable glands / conduit entry bushes, bonding to earth and painting. Also provide separate neutral busbar for each phase. Provide separate Earth Links. Use pin type copper lugs or bimetallic lugs for connections of all wires.
Dressing of distribution board
i) | Dressing of all incoming cables, outgoing wires shall be dressed properly with lugs. As per Methodology.
ii) | Numbering with ring type ferrule shall be provided for each outgoing cables / wires. For all outgoing and incoming cable. The cable have to be properly dressed.
iii) | All the incoming and outgoing cables shall be properly dressed by providing cable trunking as displayed in photographs (Trunking shall be paid separately)
iv) | D.B. charts shall be made in SLD form and pasted inside of D.B. covers.
v) | It shall be ensured that load balancing in each phase is done properly.
vi) | For all DB'S double earthing shall be provided and door will also earthed.
vii) | When required to be mounted on columns special fixing clamps / Channels shall be used. Welding / Drilling in the column shall not be allowed. DB have to placed as per the layout . Clearance is required before fixing the DB. Wiring loop for future maintenance is to be kept on both ends.
Note- Each incoming and outgoing MCB's shall have Ics = 10 KA minimum
All VTPN DB I/Cs are to be considered as RCBO. In TPN DBs, individual phase wise distribution is to be considered with DP RCBO In SPN DBs, DP RCBOs are to be considered in the I/C
2 | 12Way TPN ( LDB-1 & LDB-2) | 1 | No |  | 0
Incomer
63A FP MCB
3 Nos. 40 Amps, DP RCBO (100mA), for each phase
Outgoing
Each Phase Consisting of the following: -
10Nos. 10A /16A SP MCB
Bus bars
1 set 100Amps, 415volts, 3 phase 4 wire colour coded Copper bus bars.
Neutral Link
Suitable for above outgoings.
Earth Terminal
Suitable for above outgoings.
3 | POINT WIRING
3.1 | Supplying materials and wiring for light point, fan points with fan box, exhaust points, 6 Amps plug sockets etc. with 2 x 2.5 sq.mm FRLS PVC insulated, flexible multistranded copper conductor wires laid in MS conduit in slabs, walls, above false ceiling alongwith 1 X 2.5 sq.mm FRLS PVC insulated, flexible multistranded copper continuous earth wire with all accessories, cutting chases in walls and making them good including providing 6 Amps modular type switches, sockets in boxes of suitable size (The box should be of adequate sizes to accommodate fan/ exhaust fan regulator wherever required) embedded in wall/ partition wall including circuit wiring with 2 x 2.5 sq.mm. FRLS PVC insulated flexible multistranded copper conductor along with one run of 2.5 sq.mm. FRLS PVC insulated flexible multistranded Copper earth continuity wire from respective MCB in DB to first point and making the electrical connection on either ends for the following points:(existing wiring to be used from existin light fixture to switch board )only loop wire used from existing point to new point
a) | One light point controlled by one 6 Amps modular switch. | 8 | Nos. |  | 0
b) | Two light points controlled by one 6 Amps modular switch. | 13 | Nos. |  | 0
c) | Three light points controlled by one 6 Amps modular switch. | 13 | Nos. |  | 0
d) | Four light points controlled by one 6 Amps modular switch. | 6 | Nos. |  | 0
e) | Five light points controlled by one 6 Amps modular switch. | 6 | Nos. |  | 0
f) | Ceiling fan point controlled by one 6 Amps modular switch and one 100 W step type Electronic Regulator. | 22 | Nos. |  | 0
g) | Exhaust fan controlled by 1 No. 6 Amps modular switch | 6 | Nos. |  | 0
4 | LIGHT FIXTURE
Warranty of 5 Years for all light fixtures shall be provided on company’s letter head.
a) | Supply, installation, testing and commissioning of LED surface Down lighter 15 W | 64 | Nos. |  | 0
b) | Supply, installation, testing and commissioning of LED surface Down lighter 12 W | 9 | Nos. |  | 0
c) | Supply, installation, testing and commissioning of LED Batten 40W fixture complete with all accessories | 10 | Nos. |  | 0
d) | Supply, installation, testing and commissioning of 40 W LED Mirror light fixture | 2 | Nos. |  | 0
e) | Up & down light-5W LED | 10 | Nos. |  | 0
f) | bricket /picture light-10W LED | 14 | Nos. |  | 0
5 | Fans
a) | Supplying 1200mm dia sweep ceiling fan with standard down rod, | 22 | Nos. |  | 0
6 | Exhaust fans
a) | 300mm dia heavy duty 900 RPM exhaust fan complete with louvered shutters (Alstom/ Crompton) | 2 | Nos. |  | 0
b) | 450mm dia, heavy duty 900 RPM exhaust fan complete with louvered shutters (Alstom/ Crompton) | 4 | Nos. |  | 0
7 | Sub Mains & Circuit Wiring lighting
a) | Supplying all the materials and wiring for sub mains and circuit wiring in concealed or open fashion in slabs, walls, above false ceiling, on walls or overhead trusses, terminating the conductors in respective panels, DBs, switch boxes with 16 SWG MS conduit of suitable size (see specifications) FRLS PVC insulated, flexible multistranded conductors/earth continuity copper wires etc. as given.
b) | 2 x 2.5 sq.mm copper wires alongwith one 2.5 Sqm FRLS PVC insulated, flexible multistranded copper continuous earth wire for Lighting point wiring | 500 | Mtrs |  | 0
7.1 | Sub Mains & Circuit Wiring power
7.1.1 | Supplying all the materials and wiring for sub mains and circuit wiring in concealed or open fashion in slabs, walls, above false ceiling, on walls or overhead trusses, terminating the conductors in respective panels, DBs, switch boxes with 16 SWG MS conduit of suitable size (see specifications) FRLS PVC insulated, flexible multistranded conductors/earth continuity copper wires etc. as given.
a) | 2 x 2.5 sq.mm copper wires alongwith one 2.5 Sqm FRLS PVC insulated, flexible multistranded copper continuous earth wire ( 6 Amps Sockets & UPS socket ) | 100 | Mtrs |  | 0
b) | 2 x 4 sq.mm copper wires alongwith one 2.5 sq.mm FRLS PVC insulated, flexible multistranded copper continuous earth wire. (for 16 A sockets) | 100 | Mtrs |  | 0
c) | 2 x 6 sq.mm copper wires alongwith one 4 sq.mm FRLS PVC insulated, flexible multistranded copper continuous earth wire. | RO | Mtrs
7.2 | Power Outlets, Power Plugs & Sockets
7.2.1 | Supplying, fixing, testing and commissioning the following outlets.
b) | 6 Amps 6 pin socket controlled by separate 6 Amps modular type switch for each socket housed in MS box of suitable size . | 10 | Nos. |  | 0
c) | 6/16 Amps 6 pin socket controlled by 16 Amps modular type switch housed in MS box of suitable size. | 5 | Nos. |  | 0
e) | 20 Amps, 3 pin weather proof industrial socket controlled by 20 Amps DP MCB in non-metallic box of suitable size.(IP-65) | 2 | Nos. |  | 0
8 | Lift Providing & Fixing with 3 stops | 1 | Nos. |  | 0
| TOTAL |  |  |  | 0
G.TOTAL( S+E)